|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|   |

|  |
| --- |
| http://www.horinglih.com/banner/qa01.gif |
|  |
|  |

 | http://www.horinglih.com/empty.gif |
|   |  |   |
|   |  |   |
|   | **http://www.horinglih.com/images/qa01.gif QA01 Addressable Photoelectric Smoke DetectorQA05 Addressable Combination Smoke & Heat DetectorQA06 Addressable Heat Detector****Characteristics**

|  |
| --- |
| * Latching function helps to identify alarm device clearly and quickly.
* Address coding by dip switch makes the job easier.
* Magnetic test feature makes maintenace easy and simple.
* Non-loosening screws on base terminal for easy installation.
* Detector is made of high endurance, solid and colorfast Fire-proof plastic.
* Detector has passed strict EMC test, which greatly eliminates fasle alarms caused by interference from nearby sources.
* Dual LEDs for 360-degree visibility.
 |

**Specifications** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| Model | QA01 | QA05 | QA06 |
| Address Coding | Binary |
| Alarm Current | DC24V 6mA |
| Standby Current | DC24V 850*u*A |
| Sensitivity Setting | Comply to EN54 |
| Ambient Temperature | 0oC ~ +50oC |
| Thermal Setting | N/A | 58oC | 58oC |
| Dimensions (mm) | 102(Dia.)x48(H) | 102(Dia.)x54(H) | 102(Dia.)x46(H) |
| Weight | 130g | 130g | 115g |
| Material | Fire-proof plastic |
| Color | White |

 

 